High pressure hose & Discharge hose

1 Overview

The net system high pressure hose is connected between the fire extinguisher container valve and the manifold, and delivers the extinguish agent in the fire extinguisher cylinder to the manifold.

The cabinet system discharge hose is connected between the fire extinguisher container valve and the nozzle on the cabinet, and deliver the extinguish agent in the fire extinguisher cylinder to the protected area.

2 Technical Parameter

The net system high pressure hose

| Model | Nominal diameter | Connect thread | Nominal working pressure |
| --- | --- | --- | --- |
| QRG32/8 | 32 | M48*2 | 8MPa |
| QRG40/8 | 40 | M60*2 | 8MPa |
| HRG16/17.2 | 16 | M27*1.5 | 17.2MPa |

The cabinet system discharge hose

| Model | Nominal diameter | Connect thread | Nominal working pressure |
| --- | --- | --- | --- |
| QRG32 | 32 | Rc3/8‘’ | 5.3MPa |
| QRG40 | 40 | Rc3/4‘’ | 5.3MPa |